| 1. Department / Location WOODLARKS CAMP SITE | 2. Activity Area Bradbury Undercroft Fire Precautions | 3. Risk Assessor NICK RICHARDS/ SARAH LANE Date of Initial Risk Assessment 4th March 2020 Signature | 4. No of Persons at Risk ONE PLUS | 5. Assessment Serial No 023 |
| --- | --- | --- | --- | --- |
| 6. Significant Hazard | 7. Risks | 8. Current Control Measures | 9. Initial | 10. Further Action Required. If yes state action. Controls / Procedures / Authorisation Training / Modification to Equipment or Process | 11. Revised |
|  |  |  | P | S | RR |  | P | S | RR |
| Bradbury Undercroft Fire Risks and Use | Fire, Smoke and ignition of material stored in area Smoke inhalation A lot of electrical and heating installation equipment located in this area | Main entrance kept open and clear when in use working in Undercroft Panic bars on back exit, exits signs displayed Covering on end door that can be removed should the low risk of a fire breaking out at entrance. No smoking or naked flames to be used Fire extinguishers located at each entrance Flammable chemicals to be stored in secure chemical cupboard The Undercroft is not to be used as a sleeping location at any time Regular inspections and disposal of unused and or waste material. All materials to be stored clear of heating and electrical installations | 1 1 1 | 4 3 4 | 4 3 4 |  |  |  |  |
| 12. Risk Rating PROBABILITY SEVERITY OF INJURY 1 Most Unlikely 1 Trivial injury/ies 2 Unlikely 2 Slight injury/ies 3 Likely 3 Serious injury/ies 4 Most Likely 4 Major injury/ies or death Multiply Probability (P) by Severity (S) to give Risk Rating (RR) | 13. Risk Rating RATING BANDS ACTION REQUIRED 1&2 Minimal Risk Maintain control measures. 3&4 Low Risk Review control measures. 6&8 Medium Risk Improve control measures. 9,12,16 High Risk Improve controls immediately & consider stopping work. | 14. Line Manager’s Final Certificate (Person responsible for Activity /Process) I certify that a suitable and sufficient assessment of the risks associated with the Activity/Area at 1/2 above has been carried out by a competent person and that the residual risks have been reduced to the lowest level reasonably practicable. Name Signature Date ………………. First Review |
| 15. Line Managers Review 1 2 3 4 |  |
| Name |  |  |  |  |  |
| Position |  |  |  |  |  |
| Signature |  |  |  |  |  |
| Date |  |  |  |  |  |