| 1. Department / Location WOODLARKS CAMP SITE | 2. Activity Area Swimming Pool Chemical Replenishment | 3. Risk Assessor NICK RICHARDS/ SARAH LANE Date of Initial Risk Assessment 4th March 2020 Signature | 4. No of Persons at Risk ONE PLUS | 5. Assessment Serial No 027 |
| --- | --- | --- | --- | --- |
| 6. Significant Hazard | 7. Risks | 8. Current Control Measures | 9. Initial | 10. Further Action Required. If yes state action. Controls / Procedures / Authorisation Training / Modification to Equipment or Process | 11. Revised |
|  |  |  | P | S | RR |  | P | S | RR |
| Pool Chemical Replenishments Filling dispenser with chlorine tablets Lovi Bond Test PAC Dosing | All Pool chemicals have potential to cause serious chemical burns or cause respiratory damage if incorrectly handled Chemical burns to skin and eyes From spillage or splashing being overcome by fumes Taking water sample from pool Falling into pool, Drowning Musculoskeletal injury for lifting when decanting from barrel Chemical burns to skin and eyes From spillage or splashing | Wear protective clothing as supplied in accordance with safety instructions Face mask to EN140/EN136 Gloves to Heavy duty Goggles to BS EN166 Apron EN 340 Open door and stand back- allowing cupboard to ventilate and keep open. Ensure whereabouts known to an another or be accompanied 2 person lift for decanting | 1 1 1 1 | 4 4 2 4 | 4 4 2 4 | Ensure up to date COSHH hazard safety sheets are available for information, Hazard precautions, Safety and Medical advice Eye wash station supplied at chemical working area Seek medical advice immediately following chemical contamination Pool PPE : heavy duty rubber gloves and apron to place chlorine in hopper and clean out, ensure goggles, masks are worn Pool Guidance and instructions can be found in the Woodlarks Swimming Pool instruction manual Only authorised persons to use chemicals in pool and carry out chemical procedures | 1 | 4 | 4 |
| 12. Risk Rating PROBABILITY SEVERITY OF INJURY 1 Most Unlikely 1 Trivial injury/ies 2 Unlikely 2 Slight injury/ies 3 Likely 3 Serious injury/ies 4 Most Likely 4 Major injury/ies or death Multiply Probability (P) by Severity (S) to give Risk Rating (RR) | 13. Risk Rating RATING BANDS ACTION REQUIRED 1&2 Minimal Risk Maintain control measures. 3&4 Low Risk Review control measures. 6&8 Medium Risk Improve control measures. 9,12,16 High Risk Improve controls immediately & consider stopping work. | 14. Line Manager’s Final Certificate (Person responsible for Activity /Process) I certify that a suitable and sufficient assessment of the risks associated with the Activity/Area at 1/2 above has been carried out by a competent person and that the residual risks have been reduced to the lowest level reasonably practicable. Name Signature Date ………………. First Review |
| 15. Line Managers Review 1 2 3 4 |  |
| Name |  |  |  |  |  |
| Position |  |  |  |  |  |
| Signature |  |  |  |  |  |
| Date |  |  |  |  |  |