| 1. Department / Location WOODLARKS CAMP SITE | 2. Activity Area Site Electrical Safety | 3. Risk Assessor Lynne Cooper Date of Initial Risk Assessment 02/03/2024 Signature | 4. No of Persons at Risk ONE PLUS | 5. Assessment Serial No 009 |
| --- | --- | --- | --- | --- |
| 6. Significant Hazard | 7. Risks | 8. Current Control Measures | 9. Initial// | 10. Further Action Required. If yes state action. Controls / Procedures / Authorisation Training / Modification to Equipment or Process | 11. Revised |
|  |  |  | P | S | RR |  | P | S | RR |
| Failure of Electrical equipment | Electrocution Fire Equipment failure Injury to operatives | 5-year fixed wiring installation checks carried out throughout site Portable Appliance Testing carried out annually on all Woodlarks appliances. Any faulty equipment withdrawn from service and reported to the warden for repair or disposal. All non-Woodlarks equipment brought to site by campers is visually checked by Camp Leaders for obvious signs of failure or damaged leads. | 1 1 1 2 | 3 3 2 4 | 3 3 2 4 | Site contractors to use low voltage portable tools where possible. Good practice: All extension leads to be completely unwound before use. Leads routed in a manner not to cause trip hazard. Do not operate electrical equipment in wet conditions. | 1 1 | 2 3 | 2 3 |
| 12. Risk Rating PROBABILITY SEVERITY OF INJURY 1 Most Unlikely 1 Trivial injury/ies 2 Unlikely 2 Slight injury/ies 3 Likely 3 Serious injury/ies 4 Most Likely 4 Major injury/ies or death Multiply Probability (P) by Severity (S) to give Risk Rating (RR) | 13. Risk Rating RATING BANDS ACTION REQUIRED 1&2 Minimal Risk Maintain control measures. 3&4 Low Risk Review control measures. 6&8 Medium Risk Improve control measures. 9,12,16 High Risk Improve controls immediately & consider stopping work. | 14. Line Manager’s Final Certificate (Person responsible for Activity /Process) I certify that a suitable and sufficient assessment of the risks associated with the Activity/Area at 1/2 above has been carried out by a competent person and that the residual risks have been reduced to the lowest level reasonably practicable. Name Signature Date First Review |