| 1. Department / Location WOODLARKS CAMP SITE | 2. Activity Area Swimming Pool Cleaning | 3. Risk Assessor Lynne Cooper Date of Initial Risk Assessment 03/03/2024 Signature | 4. No of Persons at Risk ONE PLUS | 5. Assessment Serial No 025 |
| --- | --- | --- | --- | --- |
| 6. Significant Hazard | 7. Risks | 8. Current Control Measures | 9. Initial | 10. Further Action Required. If yes state action. Controls / Procedures / Authorisation Training / Modification to Equipment or Process | 11. Revised |
|  |  |  | P | S | RR |  | P | S | RR |
| Cleaning the Swimming pool using the vacuum and submersible cleaner. | Equipment malfunction or fault causing Electrocution. Drowning and or falling into pool. – Risk to person cleaning. Musculoskeletal injury. Person cleaning the pool could hurt back lowering cleaners into pool or lifting out. | Visual check conducted of appliance before use. Appliance used only with Residual Current Detector (RCD) protection to ensure operator safety. Where possible cleaner to take someone to assist. Cleaner must let someone know where they are going. (see Lone Worker RA) User will run the vacuum into the pool via the steps at the shallow end. User will empty the bag regularly. Phone and Pool alarm system at pool. | 1 1 1 | 4 4 2 | 4 4 2 | Competent / able person to use cleaning equipment. | 1 | 4 | 4 |
| 12. Risk Rating PROBABILITY SEVERITY OF INJURY 1 Most Unlikely 1 Trivial injury/ies 2 Unlikely 2 Slight injury/ies 3 Likely 3 Serious injury/ies 4 Most Likely 4 Major injury/ies or death Multiply Probability (P) by Severity (S) to give Risk Rating (RR) | 13. Risk Rating RATING BANDS ACTION REQUIRED 1&2 Minimal Risk Maintain control measures. 3&4 Low Risk Review control measures. 6&8 Medium Risk Improve control measures. 9,12,16 High Risk Improve controls immediately & consider stopping work. | 14. Line Manager’s Final Certificate (Person responsible for Activity /Process) I certify that a suitable and sufficient assessment of the risks associated with the Activity/Area at 1/2 above has been carried out by a competent person and that the residual risks have been reduced to the lowest level reasonably practicable. Name Signature Date First Review |